## 20260205
MM | [13 empty] | IonSource
Screws |  |  | PiMicro |  |  | Roll | Pitch
X- | Z+ | X+ | X | Z | Angle(Y) | Z | X | Pint | Tint | Humidity | AnodV | Peak men | TrgThr | Ion | ExtrV | If | Ie | HePP(ExT)
[mm] | [mm] | [mm] | [mm] | [mm] | [a.u.] | [mV] | [mV] | [mbar] | [°C] | [%] | [V] | [mV] | [mV] |  | [V] | [A] | [mA] | [Torr]
[5 empty] | 0 |  |  | 75 | 20 | 3 | 238 |  | 20 | He | -200 | 4.45 | 0.6 | 1.2e-06
Best for hole (8.5,9.0) Xer | [5 empty] | Best for Graphene (-8,0,-8,5) Xer
Xeryon |  | Position
X | Z |  | HePeak | Start time | end time | rate | SpectrumFile | Screenshot |  |  |  | Comment
[mm] | [mm] |  | [mV] |  |  | [Hz | [txt] | [jpg]
8.5 | 9 | Hole | 120 | 11:33 | 11:42 | 150 | F4--Trace--00003 | LeCroy--00174
-8 | -8.5 | Grap | 115 | 11:43 | 11:53 | 20 | F4--Trace--00004 | LeCroy--00177
-7.9 | -8.5 | Grap | 115 | 11:55 | 12:06 | 25 | F4--Trace--00005 | LeCroy--00178
-7.9 | -8.4 | Grap | 130 | 12:07 | 12:16 | 45 | F4--Trace--00006 | LeCroy--00179
5 minutes acquisition
Xeryon |  | Position
X | Z |  | HePeak | Start time | end time | rate | SpectrumFile | Screenshot |  |  |  | Comment
[mm] | [mm] |  | [mV] |  |  | [Hz | [txt] | [jpg]
8.5 | 9 | Hole | 130 | 12:21 | 12:26 | 240 | F4--Trace--00007 | LeCroy--00180
-8 | -8.5 | Grap | 130 | 12:27 | 12:31 | 40 | F4--Trace--00008 | LeCroy--00181
8.5 | 9 | Hole | 130 | 12:32 | 12:38 | 250 | F4--Trace--00009 | LeCroy--00182
-7.9 | -8.5 | Grap | 130 | 12:38 | 12:43 | 40 | F4--Trace--00010 | LeCroy--00183
8.5 | 9 | Hole | 130 | 12:44 | 12:49 | 245 | F4--Trace--00011 | LeCroy--00184 |  |  |  | non saved
-7.9 | -8.4 | Grap | 130 | 12:50 | 12:55 | 40 | [5 empty] | non saved
8.5 | 9 | Hole | 130 | 12:56 | 13:00 | 265 | F4--Trace--00012 | LeCroy--00185 |  |  |  | Repeat
-7.9 | -8.4 | Grap | 130 | 13:01 | 13:06 | 44 | F4--Trace--00013 | LeCroy--00186 |  |  |  | Repeat
8.5 | 9 | Hole | 143 | 13:07 | 13:11 | 250 | F4--Trace--00014 | LeCroy--00187
-7.9 | -8.6 | Grap | 143 | 13:13 | 13:18 | 65 | F4--Trace--00015 | LeCroy--00188
8.5 | 9 | Hole | 135 | 13:19 | 13:23 | 270 | F4--Trace--00016 | LeCroy--00189
-8 | -8.4 | Grap | 133 | 13:24 | 13:29 | 45 | F4--Trace--00017 | LeCroy--00190
8.5 | 9 | Hole | 133 | 13:30 | 13:35 | 260 | F4--Trace--00018 | LeCroy--00191 |  |  |  | Rate changed
-8 | -8.6 | Grap | 133 | 13:36 | 13:40 | 60 | F4--Trace--00019 | LeCroy--00192 |  |  |  | Rate changed
8.5 | 9 | Hole | 133 | 13:41 | 13:46 | 140 | F4--Trace--00020 | LeCroy--00193 |  |  |  | Repeat
-8 | -8.6 | Grap | 133 | 13:48 | 13:52 | 30 | F4--Trace--00021 | LeCroy--00194 |  |  |  | Repeat
0 | 0 |  |  | 13:54 | 14:00 | 3 | F4--Trace--00022 | LeCroy--00195
8.5 | 9 | Hole | 133 | 14:01 | 14:06 | 150 | F4--Trace--00023 | LeCroy--00196
-8.1 | -8.4 | Grap | 133 | 14:07 | 14:11 | 25 | F4--Trace--00024 | LeCroy--00197
8.5 | 9 | Hole | 133 | 14:13 | 14:18 | 161 | F4--Trace--00025 | LeCroy--00198 |  |  |  | Rate changed
-8.1 | -8.6 | Grap | 133 | 14:19 | 14:23 | 20 | F4--Trace--00026 | LeCroy--00199 |  |  |  | Rate changed
8.5 | 9 | Hole | 143 | 14:25 | 14:29 | 310 | F4--Trace--00027 | LeCroy--00200 |  |  |  | MM pressure decreased, high gain and detectore response instable
-8.1 | -8.6 | Grap | 143 | 14:31 | 14:36 | 35 | F4--Trace--00028 | LeCroy--00202 |  |  |  | MM pressure decreased, high gain and detectore response instable
8.5 | 9 | Hole | 143 | 15:02 | 15:07 | 165 | F4--Trace--00029 | LeCroy--00203
-8.1 | -8.6 | Grap | 125 | 15:08 | 15:13 | 20 | F4--Trace--00030 | LeCroy--00204
8.5 | 9 | Hole | 130 | 15:14 | 15:19 | 170 | F4--Trace--00031 | LeCroy--00205
-8.1 | -8.5 | Grap |  | 15:22 | 15:27 | 15 | F4--Trace--00032 | LeCroy--00206 |  |  |  | Bad spectrum
8.5 | 9 | Hole | 135 | 15:28 | 15:33 | 175 | F4--Trace--00033 | LeCroy--00207 |  |  |  | High MM response Fluctuation
-8 | -8.5 | Grap |  | 15:34 | 15:39 | 20 | F4--Trace--00034 | LeCroy--00208
8.5 | 9 | Hole |  |  |  |  | F4--Trace--00035 | LeCroy--00209
0 | 0